Specifier Notes:  This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, including MasterFormat, SectionFormat, and PageFormat, as described in The Project Resource Manual—CSI Manual of Practice, Fifth Edition.

This section must be carefully reviewed and edited by the Architect or Engineer to meet the requirements of the project and local building code.  Coordinate this section with other specification sections and the Drawings.  Delete all “Specifier Notes” after editing this section.

Section numbers are from MasterFormat 2010 Update.

SECTION 26 27 73.13

DOOR CHIMES: WIRELESS

Specifier Notes:  Delete any information below in Parts 1, 2 or 3 which is not required or relevant for the project.

PART 1 – GENERAL

1.01	SUMMARY

A.	Section Includes: Wireless door chimes and wireless pushbuttons.

1.02	REFERENCES

A.	Underwriters Laboratories, Inc. (UL):

1.	UL 464		Audible Signal Devices

1.03	SUBMITTALS

A.	Comply with Section 01 33 00 – Submittal Procedures.

B.	Product Data:

1. 	Submit manufacturer’s descriptive literature and product specifications for each product.

2. 	Manufacturer’s product drawings.

1.04	QUALITY ASSURANCE

A.	Manufacturer Qualifications: Products shall be free of defects in material and workmanship.

- Manufacturer’s installation instructions.

1.05	WARRANTY

- Product is warranted free of defects in material and workmanship.

- Product is warranted to perform the intended function within design limits.

PART 2 – PRODUCTS

2.01	GENERAL

A.	AC powered wireless chime receivers shall be cULus or cETLus Listed to UL 464.

B.	Wireless chime receivers and wireless pushbutton transmitters shall be FCC and IC approved.

2.02	MANUFACTURERS

A.	Acceptable Manufacturers:

Thomas & Betts Corporation

8155 T&B Blvd

Memphis, TN 38125

800-816-7809, 901-252-5000

www.tnb.com

Product: 	Carlon® Door Chimes

2.03	DESIGN AND PERFORMANCE REQUIREMENTS

A.	Wireless door chimes and pushbuttons shall be rated for 150’ of range.

B.	Wireless door chimes are available with up to 13 chime tunes.

C.	Multiple battery powered wireless pushbuttons shall actuate one common wireless chime receiver.

D.	Different chime tunes can be assigned to each pushbutton.

- Wireless chime receivers and wireless pushbutton transmitters shall operate on a RF frequency of 315 MHz.

- Wireless door chimes and pushbuttons shall be available in the following options;

  - RC3250 – one button chime

  - RC3252 – two button chime

  - RC3200 – chime, extends existing wired bell system

  - RC3260 – entrance alert chime

  - RC3253 – add-on chime, works with RC3250, RC3252, RC3200 and RC3260

  - RC3301 – weatherproof pushbutton, white with black button

  - RC3341 – weatherproof pushbutton, white with white button

  - RC3311 – weatherproof pushbutton, black with gold plate

PART 3 – EXECUTION

3.01	INSTALLATION

A. 	Installation shall be in accordance with manufacturer’s instruction sheet.

END OF SECTION